#### DIGITAL CAMERA ST 14000 - HDMI 1080 CMOS

## FEATURES

| Model |  |
| --- | --- |
| Image Sensor | 1/2.3" 14.0 Mp Panasonic CMOS |
| Scan Mode | Progressive |
| Pixel Size | 1.4μmX 1.4μm |
| Digital Zoom | 1.0x to 5.2x |
| Speed | 30 fps Full Hd 1080p |
| Image Format | jpg |
| Max Resolution (Hardware) | 4320x3240 (for TF card) 1280x720 30fps for TF card |
| Speed | 30 fps Full HD |
| Video Format | MOV (for TF card) |
| Video Recorder | 1920x1080 30 fps (for TF card) |
| USB Video Resolution | 1280x720 30fps |
| Color | R/G/B Adjustable |
| White Balance | Automatic / Manual |
| Auto-exposure | Automatic / Manual |
| Image Output | HDMI, USB2.0 ports |
| Storage | TF card interface 32G max |
| Lens | C- Mount |
| Power Supply | 12 Vdc 1A |
| Programmable Control | Image size, brightness, gain, contrast, gamma, saturation, exposure time, Mirror, Flip, Negative, Cross cursor, 4 lines Hor/Vert, freeze |
| Working Temperature | -10°C ~ 60°C |
| USB Cable | HDMI cable, length 1.5m |
| Camera Body | Metal body square shape, 58 X 58 (mm) |